## owners
id | corporation_name | alias | address | corporation_email | phone | fax | website | icon
1 | SINERGI TEKNOLOGI UTAMA | STU | Bandung | admin@sinergiteknologiutama.com | 987654321 | 987654321 | www.sinergiteknologiutama.com

## roles
id | level
1 | superadmin
2 | admin
3 | user

## notification_type
id | name
1 | None
2 | Email
3 | SMS
4 | WhatsApp

## users
id | name | username | email | password | phone | role_id | owner_id | notification_id
1 | superadmin | superadmin | superadmin@email.com |  | 1234567890 | 1 | 1 | 1
2 | admin | admin | admin@email.com |  | 1234567890 | 2 | 1 | 1
3 | user | user | user@email.com |  | 1234567890 | 3 | 1 | 1

## manufacturers
id | name
1 | SINERGI TEKNOLOGI UTAMA

## device_types
id | name
1 | EA
2 | RECTIFIER
3 | BMS

## devices
id | manufacturer_id | device_type_id | name | api_key | api_label
1 | 1 | 3 | INTERFACE-INCELL | LpMUQNfshswworYNCB8aYfbkVODVDrrmGKtFko9q | api_lable

## devices_http_api
id | device_id | url | api_key | api_label
1 | 1 | url | api_key | api_label

## severities
id | name
1 | None
2 | Major
3 | Minor
4 | Critical
5 | Warning

## parameters
id | device_id | name | alias | group | unit | severity_id | notification_id | minimum | maximum | scale | state | triggers
1 | 1 | SOC | SOC | POLLING | % | 1 | 4 | 1 | 0 | 0 | 0 | 0
2 | 1 | BATTERY VOLTAGE | BATT_VOLTAGE | POLLING | V | 1 | 4 | 1 | 0 | 0 | 0 | 0
3 | 1 | BATTERY CURRENT | BATT_CURRENT | POLLING | A | 1 | 4 | 1 | 0 | 0 | 0 | 0
4 | 1 | MIN CELL VOLTAGE | MIN_CELL_VOLT | POLLING | V | 1 | 4 | 1 | 0 | 0 | 0 | 0
5 | 1 | MAX CELL VOLTAGE | MAX_CELL_VOLT | POLLING | V | 1 | 4 | 1 | 0 | 0 | 0 | 0
6 | 1 | CYCLE COUNT | CYCLE_COUNT | POLLING | - | 1 | 4 | 1 | 0 | 0 | 0 | 0
7 | 1 | BACKUP TIME | BACKUP_TIME | POLLING | H | 1 | 4 | 1 | 0 | 0 | 0 | 0
8 | 1 | CIRCUIT BREAKER ALARM | circuit_breaker_alarm | ALARM | - | 1 | 4 | 1 | 0 | 0 | 0 | 0
9 | 1 | ANTI THEFT ALARM | anti_theft_alarm | ALARM | - | 1 | 4 | 1 | 0 | 0 | 0 | 0
10 | 1 | SHORT CIRCUIT | short_circuit_alarm | ALARM | - | 1 | 4 | 1 | 0 | 0 | 0 | 0
11 | 1 | OVER CURRENT DISCHARGE ALARM | over_current_discharge_alarm | ALARM | - | 1 | 4 | 1 | 0 | 0 | 0 | 0
12 | 1 | OVER TEMPERATURE ALARM | over_temperature_alarm | ALARM | - | 1 | 4 | 1 | 0 | 0 | 0 | 0
13 | 1 | UNDER TEMPERATURE ALARM | under_voltage_alarm | ALARM | - | 1 | 4 | 1 | 0 | 0 | 0 | 0
14 | 1 | OVER CURRENT CHARGE ALARM | over_voltage_alarm | ALARM | - | 1 | 4 | 1 | 0 | 0 | 0 | 0
15 | 1 | DISCHARGE BLOKED ALARM | discharge_blocked_alarm | ALARM | - | 1 | 4 | 1 | 0 | 0 | 0 | 0
16 | 1 | UNDER TEMPERATURE ALARM | under_temperature_alarm | ALARM | - | 1 | 4 | 1 | 0 | 0 | 0 | 0
17 | 1 | OVER CURRENT CHARGE ALARM | over_current_charge_alarm | ALARM | - | 1 | 4 | 1 | 0 | 0 | 0 | 0
18 | 1 | CHARGE BLOCKED ALARM | charge_blocked_alarm | ALARM | - | 1 | 4 | 1 | 0 | 0 | 0 | 0
19 | 1 | VOLTAGE CELL 1 | V_CELL_1 | POLLING | V | 1 | 4 | 1 | 0 | 0 | 0 | 0
20 | 1 | VOLTAGE CELL 2 | V_CELL_2 | POLLING | V | 1 | 4 | 1 | 0 | 0 | 0 | 0
21 | 1 | VOLTAGE CELL 3 | V_CELL_3 | POLLING | V | 1 | 4 | 1 | 0 | 0 | 0 | 0
22 | 1 | VOLTAGE CELL 4 | V_CELL_4 | POLLING | V | 1 | 4 | 1 | 0 | 0 | 0 | 0
23 | 1 | VOLTAGE CELL 5 | V_CELL_5 | POLLING | V | 1 | 4 | 1 | 0 | 0 | 0 | 0
24 | 1 | VOLTAGE CELL 6 | V_CELL_6 | POLLING | V | 1 | 4 | 1 | 0 | 0 | 0 | 0
25 | 1 | VOLTAGE CELL 7 | V_CELL_7 | POLLING | V | 1 | 4 | 1 | 0 | 0 | 0 | 0
26 | 1 | VOLTAGE CELL 8 | V_CELL_8 | POLLING | V | 1 | 4 | 1 | 0 | 0 | 0 | 0
27 | 1 | VOLTAGE CELL 9 | V_CELL_9 | POLLING | V | 1 | 4 | 1 | 0 | 0 | 0 | 0
28 | 1 | VOLTAGE CELL 10 | V_CELL_10 | POLLING | V | 1 | 4 | 1 | 0 | 0 | 0 | 0
29 | 1 | VOLTAGE CELL 11 | V_CELL_11 | POLLING | V | 1 | 4 | 1 | 0 | 0 | 0 | 0
30 | 1 | VOLTAGE CELL 12 | V_CELL_12 | POLLING | V | 1 | 4 | 1 | 0 | 0 | 0 | 0
31 | 1 | VOLTAGE CELL 13 | V_CELL_13 | POLLING | V | 1 | 4 | 1 | 0 | 0 | 0 | 0
32 | 1 | VOLTAGE CELL 14 | V_CELL_14 | POLLING | V | 1 | 4 | 1 | 0 | 0 | 0 | 0
33 | 1 | VOLTAGE CELL 15 | V_CELL_15 | POLLING | V | 1 | 4 | 1 | 0 | 0 | 0 | 0
34 | 1 | LIFE TIME | LIFE_TIME | POLLING | - | 1 | 4 | 1 | 0 | 0 | 0 | 0
35 | 1 | MIN CELL TEMP | MIN_CELL_TEMP | POLLING | C | 1 | 4 | 1 | 0 | 0 | 0 | 0
36 | 1 | MAX CELL TEMP | MAX_CELL_TEMP | POLLING | C | 1 | 4 | 1 | 0 | 0 | 0 | 0
37 | 1 | POWER SWITCH TEMP | POWER_SWITCH_TEMP | POLLING | C | 1 | 4 | 1 | 0 | 0 | 0 | 0

## regions
id | owner_id | oid | name | icon
1 | 1 | region1 | region1 | fa fa-building

## cities
id | owner_id | region_oid | oid | name | icon
1 | 1 | region1 | city1 | city1 | fa fa-map-marker

## sites
id | owner_id | region_oid | city_oid | oid | name | site_id_label | address | longitude | latitude | icon
1 | 1 | region1 | city1 | site1 | site1 | site-001 | address1 | 12121 | 12121 | -
2 | 1 | region1 | city1 | site2 | site2 | site-002 | address2 | 2222 | 222 | -

## device_nodes
id | site_oid | device_id | name | poller_ipaddress | serial_number | ipaddress | protocol_monitoring | status
1 | site1 | 1 | node1 | 10.14.4.161 | TSM1111 | 192.168.1.150 | SNMP | 1
2 | site1 | 2 | ndoe2 | 10.14.4.161 | 123456789 | 192.168.1.225 | SNMP | 1
3 | site2 | 1 | node3 | 10.14.4.161 | 12345678 | 192.168.1.234 | SNMP | 1

## communications_data
id | device_node_id | monitoring_status | alarm_status
1 | 1 | 1 | 1

## polling_data_devices
id | site_oid | device_node_id | snmp_object_id | value | devider
1 | site1 | 1 | 1 | 0 | 0
2 | site1 | 1 | 2 | 0 | 0
3 | site1 | 1 | 3 | 0 | 0
4 | site1 | 1 | 4 | 0 | 0
5 | site1 | 1 | 5 | 0 | 0
6 | site1 | 2 | 6 | 0 | 0
7 | site2 | 3 | 1 | 0 | 0
8 | site2 | 3 | 2 | 0 | 0
9 | site2 | 3 | 3 | 0 | 0
10 | site2 | 3 | 4 | 0 | 0
11 | site2 | 3 | 5 | 0 | 0

## Sheet1
site_oid | site_name | site_id_label | devices.id(dn.id) = name | poller_ipaddress

## Sheet2
id | site_oid | device_node_id | critical | major | minor | warning | comlost
1 |  | 1